## Slide 1: CT EEB X1931-1 Commercial Furnace ISP Study Commercial Boiler ISP Study Kevin Boyd, ERS December 16th, 2020

## Slide 2: Agenda
Background and Objectives
Detailed Tasks
Approach
2
Schedule
Budget

## Slide 3: ISP Background
Industry Standard Practice (ISP) is a method for identifying appropriate baselines for measures that have no applicable code, or for measures for which there is evidence of practices above or below code
In leading states including MA, ISP is used for baselines even when code applies
ERS developed Generalized ISP Protocols for MA in 2017 and is currently engaged in the second cycle of ISP studies

## Slide 4: ISP Background (Continued)
Why should we do an ISP study instead of letting free ridership analysis handle it?
  Free ridership is hard to measure
  Baseline and program efficiency differences are narrowing
  IOU performance incentives based on evaluated gross not net savings
  Big differences between code and ISP may exist
  It is more “truth”—baseline should reflect the market absent the program
Industry-leading jurisdictions (CA, MA, WA, RI) are using non-code ISP more often, even when code applies.
CT has started!
  Residential natural gas furnaces & boilers uses 2018 evaluation findings
  Residential GSHP uses ENERGY STAR Tier 1

## Slide 5: Study Objectives
Interest in advancing ISP for baselines in CT
  Already in place for residential furnaces, boilers and GSHPs
  For measures with impactful share of savings and evidence of off-code practices
Combined study and report for furnaces & boilers
  Together, nearly half of C&I gas savings
  Similar parameters and market actors
  Combined for economies of study
End result: ISP baseline recommendations for Lost Opportunity commercial boilers and furnaces
Chart: C&I Tracking Savings, 2019, Gas
| Natural Gas Fired Boilers and Furnaces C&I Lost Opportunity | Natural Gas-Fired Domestic Hot Water Heaters C&I Lost Opportunity | Other | Process, C&I | Unitary A/C and Heat Pumps C&I Lost Opportunity
CCF savings | 990042.679 | 28481 | 304530 | 686545.23 | 51709

## Slide 6: Background: Commercial Furnace
Project Outcome: Determine commercial natural gas furnace baseline efficiency for use in PSD
Needs to be addressed: PSD uses current federal minimum standard efficiencies. MA baseline repository review and other initial research suggests that baseline practices may be higher efficiency.
AFUE = Annual Fuel
Usage Economy
Ec = combustion efficiency
Et = thermal efficiency
Chart: Efficiency Comparison: Furnace
| CT | MA
Baseline | 0.8 | 0.85
Efficient | 0.92 | 0.95
7% delta
5% delta
Notes: Federal 10CFR431.77 https://ecfr.federalregister.gov/current/title-10/chapter-II/subchapter-D/part-431/subpart-D/subject-group-ECFR345cedf2e148a66/section-431.77
MA baseline https://etrm.anbetrack.com/#/workarea/trm/MADPU/COM-HVAC-F/2019-2021%20Plan%20TRM/version/1?measureName=HVAC%20-%20Furnace,%20Gas
CT resi baseline PSD p. 188, refers to 2018 CT process & impact evaluation report, which was based on a survey of contractors & distributors
CT comm baseline PSD p. 46 refers to IECC2015, https://up.codes/viewer/colorado/iecc-2015/chapter/CE_4/ce-commercial-energy-efficiency#CE_4
CT program minimum
Fed “max-tech” https://www.federalregister.gov/documents/2020/05/12/2020-09414/energy-conservation-program-energy-conservation-standards-for-air-cooled-commercial-package-air
MA minimum https://www.masssave.com/-/media/Files/PDFs/Business/Commercial_Industrial_Gas_Equipment.pdf?la=en&hash=2CEB51B9F354015CFCE019FDC1DC9DBCCD03A149

## Slide 7: Background: Commercial Boilers
Project Outcome: Determine commercial natural gas steam and hot water boiler baseline efficiency for use in PSD
Needs to be addressed: PSD uses current federal minimum standard efficiencies. MA market study (P48 Gas Boiler Market Characterization Study) and other initial research suggests that baseline practices may be higher efficiency. Additionally, potential for differentiation in new construction vs. replace on failure applications
CFR specifies all units <300 kBtu/hr as “consumer”
AFUE = Annual Fuel Usage Economy
C = combustion efficiency
T = thermal efficiency
Chart: Efficiency Comparison: 500 kBtu/hr HW Boiler
| CT | MA
Baseline | 0.8 | 0.85
Efficient | 0.82 | 0.9
2% delta
5% delta
Notes: Lost opportunity measure only.
Note: On MA ISP research wish list, but low priority. Recent study found HW boilers <2500 MBH ISP above code (TRM not updated, yet?). Concern about others.
MA 2014 study
Emphasis on condensing versus non, but also explore gradations within noncondensing
Federal 10CFR431.77 https://ecfr.federalregister.gov/current/title-10/chapter-II/subchapter-D/part-431/subpart-D/subject-group-ECFR345cedf2e148a66/section-431.77
MA baseline https://etrm.anbetrack.com/#/workarea/trm/MADPU/COM-HVAC-F/2019-2021%20Plan%20TRM/version/1?measureName=HVAC%20-%20Furnace,%20Gas
CT resi baseline PSD p. 188, refers to 2018 CT process & impact evaluation report, which was based on a survey of contractors & distributors
CT comm baseline PSD p. 46 refers to IECC2015, https://up.codes/viewer/colorado/iecc-2015/chapter/CE_4/ce-commercial-energy-efficiency#CE_4
CT program minimum
Fed “max-tech” https://www.federalregister.gov/documents/2020/05/12/2020-09414/energy-conservation-program-energy-conservation-standards-for-air-cooled-commercial-package-air
MA minimum https://www.masssave.com/-/media/Files/PDFs/Business/Commercial_Industrial_Gas_Equipment.pdf?la=en&hash=2CEB51B9F354015CFCE019FDC1DC9DBCCD03A149

## Slide 8: Approach
Three step approach
  Secondary Research: review existing studies and documents, including 2016 MA market characterization study and others
  PA Interviews: discuss with PA representatives that work closely with C&I boiler and furnace programs
  Primary Research: based on PA interview findings and secondary research results, conduct surveys of equipment designers and installers, suppliers, national technology experts, and manufacturers to determine ISP baselines

## Slide 9: Tasks and Methodology
Task 1: Kickoff and Data Request
  Data request: recent program year savings for commercial furnaces and boilers, including both prescriptive and custom
Task 2: Conduct Research
  2.1: Secondary research and PA interviews
    Previous studies in CT and MA, including MA Market Characterization
    Tracking data review
    PA implementation staff interviews (4)
  2.2: Interview guide design
    Develop interview guide
  2.3: Conduct primary research
    In-depth interviews with designer/installers, manufacturers, suppliers, and trade associations (12)
    AHRI, ASHRAE, and other professional organizations
    Lochinvar, Weil-McLain, and other manufacturers
    Distributors, designers, installers and other industry contacts sourced from the implementation staff and/or tracking data
    “Chain recruiting” of further contacts during each interview

## Slide 10: Tasks and Methodology (cont.)
Task 3: Data Synthesis
  Quantification: convert qualitative interview responses into quantitative data points where possible
  Triangulation: use results of secondary research, PA and expert interviews to determine baselines for different characteristics of interest (e.g. size, type, application)
  Assess any impact of changed ISP on assumed FR
Task 4: Presentation of Final Results
  PA Interview Guide and Expert Interview Guide
  ISP results report summarizing findings and making ISP and baseline recommendations
  Ancillary findings will also be reported (e.g. recommendations for future evaluation study)
  Draft and final reports
  Final powerpoint presentation of results and recommendations

## Slide 11: Study Objectives and Outcomes
Objective | Method | Outcome
Advance the use of ISP baselines in CT | Conduct high-rigor ISP study of commercial boilers and furnaces | Pilot a CT-specific protocol for conducting ISP research
Clarify ISP baseline efficiencies and operational characteristics of commercial boilers and furnaces | Conduct secondary research Interview PA representatives Conduct industry expert interviews | Build ISP baseline recommendations for commercial furnaces Build ISP baseline recommendations for commercial boilers

## Slide 12: Schedule and Budget
December 2020: Study kickoff
January – March 2021: Data collection and analysis
May 2021 – Final report and presentation
Reports finalized for June PSD update
Estimated Budget – $59.9k

## Slide 13: Thank You
13

## Slide 14
Kevin Boyd, Project Engineer II
kboyd@ers-inc.com
412.626.3208
ERS is an energy and engineering consulting firm providing services in energy efficiency customer engagement, implementation, evaluation, both pre- and post-installation M&V, custom feasibility studies, and distributed and renewable generation assessment.